## Slide 1: Hose leak tests in 904
Ian
14 Oct 2019

## Slide 3
https://www.swagelok.com/en/product/Hoses-and-Flexible-Tubing/Rubber-Core-Hose-Rayon-Fiber-Reinforced

## Slide 5
http://project-cms-rpc-endcap.web.cern.ch/project-cms-rpc-endcap/rpc/UpscopeHighEta/RPCDevelopements/RE31and41/Services/Cooling/PipingYoke/Modification/Installation/Photos/
Then select file ;
20191010101400.mp4
But if it does not work this file will;
redir.htm
follow the down load. It is 40Mb.
Video made by Piotr from ZEC in 10 Oct 2019 while pressure testing with Argon the RE+4/1 installed cooling hoses.
NOTA
The hose & union are not under pressure but have been !!!!

## Slide 6
To see the video click here with right button and “open Hyperlink”
Or follow the link below;
http://project-cms-rpc-endcap.web.cern.ch/project-cms-rpc-endcap/rpc/UpscopeHighEta/RPCDevelopements/RE31and41/Services/Cooling/PipingYoke/Modification/Installation/Photos/20191010101400.mov

## Slide 7
Photo taken on Friday by Anton with the line under 15 Bar Argon test pressure.
The cable tie has been applied AFTER the pressure was applied to try and stop the leak.
This is NOT the same condition indicated in the previous slide showing the video of the leak with NO pressure

## Slide 8
http://www-eng.lbl.gov/~shuman/NEXT/MATERIALS&COMPONENTS/Hardware/swagelok_hose_cat_MS-01-180.pdf

## Slide 12
https://www.swagelok.com/downloads/webcatalogs/EN/MS-CRD-0190.PDF

## Slide 13
https://www.youtube.com/watch?v=qeu7ALX6cSU
https://www.youtube.com/watch?v=IAsKLmMpbtk

## Slide 14
https://www.swagelok.com/downloads/webcatalogs/EN/MS-CRD-0125.PDF
This method is not good as the barbs WILL be damaged

## Slide 15
https://www.youtube.com/watch?v=IAsKLmMpbtk

## Slide 16
Milles bulles
https://www.youtube.com/watch?v=MP0iFzyLaU4

## Slide 17
http://project-cms-rpc-endcap.web.cern.ch/project-cms-rpc-endcap/rpc/UpscopeHighEta/RPCDevelopements/RE31and41/Services/Cooling/PipingYoke/Modification/Installation/Photos/
Then select file ;
20191010101400.mp4
But if it does not work this file will;
redir.htm
follow the down load. It is 40Mb.
Video made by Piotr from ZEC in 10 Oct 2019 while pressure testing with Argon the RE+4/1 installed cooling hoses.
NOTA
The hose & union are not under pressure but have been !!!!
The gas “stored on the wall of the hose continues to leak out !

## Slide 18
Photo taken on Friday by Anton with the line under 15 Bar Argon test pressure.
The cable tie has been applied AFTER the pressure was applied to try and stop the leak.
This is NOT the same condition indicated in the previous slide showing the video of the leak with NO pressure

## Slide 20
Video showing low bubble production rate on top of the hose
Following GEM method, insisting on pushing repeatedly on the handle of the tool to ensure the straight cut end of the hose is tight up against the union
Lower photo shows staic bubbles as formed as the solution comes out of rhe sparay can.
Same test hose but the othjer end done as instructed in the Swagelok documentation. Namely the hose must cove rthe barbs and enter the blue collerette

## Slide 21
Large leak showing the production of bubbles larger than the ones that are formed as the solution is released from the spray can

## Slide 22
Other manufactures and their hoses , unions and assembly methods

## Slide 23
Tubes International
https://www.youtube.com/watch?v=_F9i5q5qG78

## Slide 24
Parker

## Slide 25
https://www.parker.com/static_content/LiteratureX/4281%20B1.pdf
https://www.parker.com/portal/site/PARKER/menuitem.223a4a3cce02eb6315731910237ad1ca/?vgnextoid=f92caf5c6f65e210VgnVCM10000048021dacRCRD&vgnextfmt=EN

## Slide 26
https://www.youtube.com/watch?v=rI_rVnmmy_E
https://www.youtube.com/watch?v=9TCzCnhjYtE

## Slide 27
https://ph.parker.com/us/en/push-lok-and-push-on-hoses

## Slide 28
https://www.parker.com/Literature/Hose%20Products%20Division%20Europe/Literature_2014/Sales%20and%20Marketing%20Bulletins/Push-Lok%20Hose_Fittings_BUL_4480-B176_UK_2016-11.pdf

## Slide 29
http://www.hccl.ie/uploads/1/4/7/3/1473854/parker_push_lok_catalogue_-_industrial.pdf
Cataloge from UK supplier 2007
Very complete union selection

## Slide 30
https://www.youtube.com/watch?v=f-hxFVYTh9Q