## Sheet1
Components for the Mini Manifold modification for RE4/1 cooling
[6 empty] | For one circuit | For one circuit | 9 circuits | 9 circuits | Total | Both Endcaps | 20% spares
|  |  | Ian Crotty | [6 empty] | One Endcap
2018-10-30
[6 empty] | Supply | Return | Supply | Return
Parker | 216-4 | ¼” hex nipple |  |  | Parker 216-4 1/4" hex nipple | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
"T" NPT 3x Female |  | Stainless steel |  |  | Parker "T" Female 1/4 NPT 4-4-4 FT-SS | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Apollo | 78-841 | BV (Ball Valve) ¼” & stem & Port |  |  | Apollo 7B-841-01 1/4" ball valve w/SS ball & stem & port | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
B&G RV 125A Readout Valve |  |  |  |  | Bell & Gosset # RV -125A Readout valve | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
1/4 " NPT Male nipple |  |  |  |  | Parker 216-4 1/4" hex nipple |  | 1 |  | 9 | 9 | 18 | 21.6
Hays Mesurflo #2305-1021 1/4" & 3/8"Flow Regulator (0.5gpm) |  |  |  |  | Hays Mesurflo #2305-1021 1/4" & 3/8"Flow Regulator (0.5gpm) |  | 1 |  | 9 | 9 | 18 | 21.6
Parker 1/4" Male NPT to 1/4 "(6mm) Hose barb |  |  |  |  | Parker #30182-4-4B 1/4" NPT M to 1/4" hose barb | 1 |  | 9 |  | 9 | 18 | 21.6
Parker 3/8" Male NPT to 1/4 "(6mm) Hose barb |  |  |  |  | Parker #30182-6-4B 3/8" NPT M to 1/4" hose barb |  | 1 |  | 9 | 9 | 18 | 21.6
Used in present instalation |  |  |  |  | Parker #831-4 1/4"Push-Lok hose green | 1 | 1 | 9 | 9 | 18 | 36 | 400m
Chamber link |  |  |  |  | Swagelok (R1FDHA007B ) B-PB4-TMB | 2 | 2 | 18 | 18 | 36 | 72 | 86.4
Hose |  |  | An option |  | Staubli Halofree 06 water PMS 20 Bar | 1 | 1
Additional FR for low flow version |  |  |  |  | Hays Mesurflo #2305-1011 1/4" & 3/8"Flow Regulator (0.25gpm) |  | 1 |  | 9 | 9 | 18 | 21.6
Swagelok Push-On 1/4inch (6.4mm) WP 350PSIG (24.1Bar) Flame Resistant

## For Dick
Components for the Mini Manifold modification for RE4/1 cooling
| For one circuit | For one circuit | 9 circuits | 9 circuits | Total | Both Endcaps | 20% spares
One Endcap
| Supply | Return | Supply | Return
Parker 216-4 1/4" hex nipple | 2 | 2 | 18 | 18 | 36 | 72 | 86.4
Parker "T" Female 1/4 NPT 4-4-4 FT-SS | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Apollo 7B-841-01 1/4" ball valve w/SS ball & stem & port | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Bell & Gosset # RV -125A Readout valve | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Hays Mesurflo #2305-1021 1/4" & 3/8"Flow Regulator (0.5gpm) |  | 1 |  | 9 | 9 | 18 | 21.6
Parker #30182-4-4B 1/4" NPT M to 1/4" hose barb | 1 |  | 9 |  | 9 | 18 | 21.6
Parker #30182-6-4B 3/8" NPT M to 1/4" hose barb |  | 1 |  | 9 | 9 | 18 | 21.6
Parker #831-4 1/4"Push-Lok hose green | 1 | 1 | 9 | 9 | 18 | 36 | 400m
Hays Mesurflo #2305-1011 1/4" & 3/8"Flow Regulator (0.25gpm) |  | 1 |  | 9 | 9 | 18 | 21.6

## Dick Feb 2019
Components for the Mini Manifold modification for RE4/1 cooling
Ian 14 feb 2019
| For one circuit | For one circuit | 9 circuits | 9 circuits | Total | Both Endcaps | 20% spares
One Endcap
| Supply | Return | Supply | Return
Parker 216-4 1/4" hex nipple | 2 | 2 | 18 | 18 | 36 | 72 | 86.4
Parker "T" Female 1/4 NPT 4-4-4 FT-SS | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Apollo 7B-841-01 1/4" ball valve w/SS ball & stem & port | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Bell & Gosset # RV -125A Readout valve | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Hays Mesurflo #2305-1021 1/4" & 3/8"Flow Regulator (0.5gpm) |  | 1 |  | 9 | 9 | 18 | 21.6
Parker #30182-4-4B 1/4" NPT M to 1/4" hose barb | 1 |  | 9 |  | 9 | 18 | 21.6
Parker #30182-6-4B 3/8" NPT M to 1/4" hose barb |  | 1 |  | 9 | 9 | 18 | 21.6
Parker #831-4 1/4"Push-Lok hose green | 1 | 1 | 9 | 9 | 18 | 36 | 400m

## Dick 25 March 2019
Components for the Mini Manifold modification for RE4/1 cooling
| For one circuit | For one circuit | 9 circuits | 9 circuits | Total | Both Endcaps | 20% spares
Ian Crotty 25/03/2019 |  |  |  |  | One Endcap
| Supply | Return | Supply | Return
Parker 216-4 1/4" hex nipple | 2 | 2 | 18 | 18 | 36 | 72 | 86.4
Parker "T" Female 1/4 NPT 4-4-4 FT-SS | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Apollo 7B-841-01 1/4" ball valve w/SS ball & stem & port | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Bell & Gosset # RV -125A Readout valve | 1 | 1 | 9 | 9 | 18 | 36 | 43.2
Hays Mesurflo #2305-1021 1/4" & 3/8"Flow Regulator (0.5gpm) |  | 1 |  | 9 | 9 | 18 | 21.6
Loctite 577 50ml | [6 empty] | 10

## Swagelok 01
Swagelok
3/8 inch NPT to 1/4 NPT
3/8" NPT M to 1/4" hose barb | Parker #30182-6-4B 3/8" NPT M to 1/4" hose barb
1/4" NPT M to 1/4" hose barb | Parker #30182-4-4B 1/4" NPT M to 1/4" hose barb
Swagelok Push-On 1/4inch (6.4mm) WP 350PSIG (24.1Bar) Flame Resistant