## Sheet1
HV
Equipment | Pcs | Meters | Unit Price [Eur] | Total Price [EUR] | Comments
EASY3000 crate | 4 |  | 2802 | 11208
48V Service cable | 8 | 4 | 15 | 60
Anderson Connectors for Service Power | 32 |  | 10 | 320
A3512N HV Board | 12 |  | 8444 | 101328
Jupiter Connectors for coaxial cables | 144 |  | 15 | 2160
HV coaxial cables | 72 | 3 | 4 | 864
HVDistribution Board | 4 |  | 50 | 200 | Custom made, material aluminium
Jupiter Connectors male | 160 |  | 15 | 2400
Jupiter Connectors female | 160 |  | 15 | 2400
Umbilical cables | 7 | 800 | 20 | 16000 | One cable will be left from GE1/1 slice test, so we need 7 instead of 8
HV CPE 3-polar connectors male | 80 |  | 20 | 1600 | 80 connectors for 8 umbilical cables with 15% contingeny
HV CPE 3-polar connectors female | 80 |  | 20 | 1600 | 80 connectors for 8 umbilical cables with 15% contingency
HV cables | 72 | 2070 | 4 | 8280 | Assuming 20-25m of cable with 15% contingency
HV CPE connectors CH-side | 72 |  | 20 | 1440 | 72 cables with 15% contingency. Assuming that the on-detector HV connector is already taken into account in the chamber construction cost
SY1527 Mainframe | 1 |  | 0 | 0 | Not needed, using existing
A1676A Branch Controller | 1 |  | 0 | 0 | Not needed, using existing ones
A3485S 48V DC Power Supply | 1 |  | 0 | 0 | Not needed, a second one was installed during EYETS16/17
YE1 HV Patch Panel | 4 |  | 0 | 0 | Not needed, using existing
HV TOTAL |  |  |  | 149860
Variant IV - LV
Equipment | Pcs | Meters | Unit Price [Eur] | Total Price [EUR] | Comments
CAEN A3016 boards | 8 |  | 6936 | 55488
CAEN EASY3000S crates | 4 |  | 2802 | 11208
CAEN A1676A branch controller | 2 |  | 1470 | 2940
LV power cables | 72 |  | 200 | 14400
DCS control Optical Fibre | 72 |  | 30 | 2160
LV TOTAL |  |  |  | 86196