**Fwd: Cable Fire certificate**

Niels Dupont

|  |  |
| --- | --- |
| **Sent:** | 21 December 2018 15:41 |
| **To:** | Ian Crotty |
| **Cc:** | Salvatore Buontempo; gabriella.pugliese@ba.infn.it |
| |  | | --- | |  | |  |
|  |  |

FYI

Begin forwarded message:

**From:** Fritz Szoncso <[Fritz.Szoncso@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=HqGBfkyGqiRsdAExSBXJr6eHQt8SRKWUOkI2RmKY-VUPum9hWHLWCA..&URL=mailto%3aFritz.Szoncso%40cern.ch)>

**Subject: Re: Cable Fire certificate**

**Date:** 21 December 2018 at 15:23:00 CET

**To:** Fabio Corsanego <[Fabio.Corsanego@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=l2OKSYnfh65mb_SJVvS9BMYTRxJNPTF9rSA_Oi-RVrYg4W9hWHLWCA..&URL=mailto%3aFabio.Corsanego%40cern.ch)>

**Cc:** Niels Dupont <[niels.dupont@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=4Y8e3XR2RoLJhy7eFCpGZp14rE9arL5sfuDPKxBvTHog4W9hWHLWCA..&URL=mailto%3aniels.dupont%40cern.ch)>, Saverio La Mendola <[saverio.la.mendola@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=LRT8wNP42HuzOkYiTO-dx0g2OSdd7AYfvXyUhebVoJcxCHBhWHLWCA..&URL=mailto%3asaverio.la.mendola%40cern.ch)>, Oriol Rios <[oriol.rios@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=T8cvHybm_3AwBoY_n1UTqdhtca7SntcgHCHy_PMSndAxCHBhWHLWCA..&URL=mailto%3aoriol.rios%40cern.ch)>

Hi Fabio (and others)!

I studied the attached documents of this order.

Provided that the cables on order indeed

fulfill the standards quoted

**(it is only said that the**

**cables are fabricated along these standards but**

**IT IS NOT SAID SPECIFICALLY THAT THE**

**CABLES PASSED A TEST, or have a test**

**certificate)**

and pass the required tests they

would be conform to IS23.

Maybe it is only a bad formulation on

behalf of the company.

So please clearly specify in the order what

we want, and ask how they guarantee compliance.

E.g., the company could say that these materials

were already used for fabricating other cables

which indeed have a test certificate Nr.....

Thank you

Fritz

On Dec 17, 2018, at 2:37 PM, Fabio Corsanego wrote:

Dear Fritz,

Here with a question for you from Niels, concerning cables.

@Niels, I have no access, maybe it’s the same for Fritz too?

Cheers

Fabio

**From:** Niels Dupont <[niels.dupont@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=k9LXrjgnFkXVPe0i9f9PoPljOO20IZLkRGSehgVDMelTVnBhWHLWCA..&URL=mailto%3aniels.dupont%40cern.ch)>   
**Sent:** Monday, December 17, 2018 14:29  
**To:** Saverio La Mendola <[saverio.la.mendola@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=xCtGZER86C6wuP-Td0h5I_6ieGvJo7zmxTm_7rlbcTRTVnBhWHLWCA..&URL=mailto%3asaverio.la.mendola%40cern.ch)>; Fabio Corsanego <[Fabio.Corsanego@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=V6lpC-crmgFEOR8IDsjxArEK7LaJdIqk0LdML2AL4zhkfXBhWHLWCA..&URL=mailto%3aFabio.Corsanego%40cern.ch)>; Oriol Rios <[oriol.rios@cern.ch](https://mmm.cern.ch/owa/redir.aspx?C=L865IHRU3shNu49oFSf8BSpwUpdkQEF5KTA0Ra2KYyxkfXBhWHLWCA..&URL=mailto%3aoriol.rios%40cern.ch)>  
**Subject:** Cable Fire certificate

Dear colleagues,

Would you be able to extract sufficient amount of information from the attached certificate to conclude whether the cables are conform to IS23/IS41?

The order is here: [https://edh.cern.ch/Document/SupplyChain/DAI/7551294](https://mmm.cern.ch/owa/redir.aspx?C=XcF6NC_wN-dfgmzM8USt0llIsGUatPNWah-xqdMwm1p1pHBhWHLWCA..&URL=https%3a%2f%2fedh.cern.ch%2fDocument%2fSupplyChain%2fDAI%2f7551294) (6200 m).

Thanks a lot,

Cheers

Niels