## LV Power
LV Equipment per 1 single end disk e.g. RE+4/1 only (RE-4/1 not included; single end means either positive or negative)
Variant | Description | # LV channels per board | phi coverage | full coverage | full board occupancy | boards needed per disk e.g. RE+3/1 ¦¦ RE+4/1 |  | location per disk |  | crates (EASY3000S) needed | branch (A1676) needed
I | A3009 2channels/2chambers | 12 | 2 channels = 40⁰ | 18 channels = 360⁰ | 1 LV board = 240⁰ | 2 |  | 1 Near + 1 Far |  | 2 | 1
II | A3009 2channels/1chamber | 12 | 2 channels = 20⁰ | 36 channels = 360⁰ | 1 LV board = 120⁰ | 3 |  | unsymmetric 2 + 1 |  | 2 | 1
[6 empty] | 4 |  | 2 Near + 2 Far
III | A3016 2channels/2chambers | 6 | 2 channels = 40⁰ | 18 channels = 360⁰ | 1 LV boards = 120⁰ | 3 |  | unsymmetric 2 + 1 |  | 2 | 1
[6 empty] | 4 |  | 2 Near + 2 Far
IV | A3016 2channels/3chambers | 6 | 2 channels = 60⁰ | 12 channels = 360⁰ | 1 LV boards = 180⁰ | 2 |  | 1 Near + 1 Far |  | 2 | 1
LV Equipment per 2 single end disks e.g. RE+3/1 && RE+4/1 only (negative end not included)
Variant | Description | # LV channels per board | phi coverage | full coverage | full board occupancy | boards needed per disk e.g. RE+3/1 ¦¦ RE+4/1 | boards needed per end e.g. RE+3/1 && RE+4/1 | location per side&&disk | location per side&&end | crates (EASY3000S) needed | branch (A1676) needed
I | A3009 2channels/2chambers | 12 | 2 channels = 40⁰ | 18 channels = 360⁰ | 1 LV board = 240⁰ | 2 | 4 | 1 Near + 1 Far | 2 Near + 2 Far | 2 | 1
II | A3009 2channels/1chamber | 12 | 2 channels = 20⁰ | 36 channels = 360⁰ | 1 LV board = 120⁰ | 3 | 6 (2 shared boards by RE3/1 amd RE4/1) | 1½ Near + 1½ Far | 3 Near + 3 Far | 2 | 1
[6 empty] | 4 | 8 | 2 Near + 2 Far | 4 Near + 4 Far
III | A3016 2channels/2chambers | 6 | 2 channels = 40⁰ | 18 channels = 360⁰ | 1 LV boards = 120⁰ | 3 | 6 (2 shared boards by RE3/1 amd RE4/1) | 1½ Near + 1½ Far | 3 Near + 3 Far | 2 | 1
[6 empty] | 4 | 8 | 2 Near + 2 Far | 4 Near + 4 Far
IV | A3016 2channels/3chambers | 6 | 2 channels = 60⁰ | 12 channels = 360⁰ | 1 LV boards = 180⁰ | 2 | 4 | 1 Near + 1 Far | 1 Near + 1 Far | 2 | 1
For all 72 RPC Upgrade RE3/1 and RE4/1 chambers we need to multiple the single end equpment in the table above by two in order to get all the LV equipment needed:
Variant | Description | # LV channels per board | total number of LV boards needed | single board price | board price per variant | total number of EASY3000S crates needed | unit price per crate [CHF] | crate price per variant [CHF] | BC (A1676) needed | unit price per BC [CHF] | BC (A1676) price per variant
I | A3009 2channels/2chambers | 12 | 8 | 8655 | 69240 | 4 | 3136 | 12544 | 2 | 1644 | 3288
II | A3009 2channels/1chamber | 12 | 12 | 8655 | 103860 | 4 | 3136 | 12544 | 2 | 1644 | 3288
|  |  | 16 | 8655 | 138480
III | A3016 2channels/2chambers | 6 | 12 | 7771 | 93252 | 4 | 3136 | 12544 | 2 | 1644 | 3288
|  |  | 16 | 7771 | 124336
IV | A3016 2channels/3chambers | 6 | 8 | 7771 | 62168 | 4 | 3136 | 12544 | 2 | 1644 | 3288
Variant Analysis
Variant | Description | # LV channels per board | total number of LV boards needed | Pros | Cons
I | A3009 2channels/2chambers | 12 | 8 |  | Too big load per LV channel. Very close to the power failure limit. Possible Hvmax errors while powering.
II | A3009 2channels/1chamber | 12 | 12 | working at 50% of the max power | few shared boards between different station (RE3/1, RE4/1), expensive
|  |  | 16 | working at 50% of the max power | the most expensive option
III | A3016 2channels/2chambers | 6 | 12 | working at 50% of the max power | few shared boards between different station (RE3/1, RE4/1)
|  |  | 16 | working at 50% of the max power | expensive
IV | A3016 2channels/3chambers | 6 | 8 | less expensive option, working at optimal regime of 75% of max power, good segmentation (1 board = 180⁰) | might experience problems in crimping the Anderson connectors for 3 chamebrs
According to me, variant IV is the most appealing one, therefore I will prepare the cost table only for it:
| Variant IV | needed | unit price [CHF] | total price [CHF]
| CAEN A3016 boards | 8 | 7771 | 62168
| CAEN EASY3000S crates | 4 | 3136 | 12544
| CAEN A1676A branch controller | 2 | 1644 | 3288
| Total Equipment Cost |  |  | 78000
| Racks on X3 | 1 crate in a rack
| X3A51, X3J51, X3V51, X3S51 | are full | Need to find more rack space.

## Signal Readout
Signal Readout per 1 single end disk e.g. RE+4/1 only (RE-4/1 not included; single end means either positive or negative)
Variant | Description | signal cables per FEB | number of FEB per chamber | signal inputs per LB | number of LB per chamber | phi coverage | number of chambers per LBB | phi coverage per LBB | number of optical fibres per LBB | number of LBB | crate location | rack positions | rack location
I | 9 FEB proposal | 2 | 9 | 6 | 3 | 20⁰ | 6 | 120⁰ | 6 | 3 | unsymmetric 2 + 1 | 6U per rack | X2N, X4N, X3F
X2F, X4F, X3N
[12 empty] | (12U Near + 6U Far) or v.v. | X3N, X3F
[10 empty] | 4 | 2 Near + 2 Far | 12U Near + 12U Far | X3N, X3F
[12 empty] | 12U Near + 12U Far | 6U on X2N, X2F
6U on X4N, X4F
II | by trigger logical sector | 2 | 10 | 6 | 3⅓ | 30⁰ | 4½ | 90⁰ | 4 | 4 | 2 Near + 2 Far | 12U Near + 12U Far | X3 ¦¦ (X2&X4)
Signal Readout per 2 single end disks e.g. RE+3/1 && RE+4/1 only (negative end not included)
Variant | Description | signal cables per FEB | number of FEBs | signal inputs per LB | number of LB per chamber | phi coverage | number of chambers per LBB | phi coverage per LBB | number of optical fibres per LBB | number of LBB per end | crate location | rack positions | rack location
I | 9 FEB proposal | 2 | 9 | 6 | 3 | 20⁰ | 6 | 120⁰ | 6 | 6 | 6 | 12U per rack | X2J52, X2A52
X4J51, X4A51
X3J51, X3A51
II | by trigger logical sector | 2 | 10 | 6 | 3⅓ | 30⁰ | 4½ | 90⁰ | 4 | 8 | 4 Near + 4 Far | 24U Near + 24U Far | X3 ¦¦ (X2&X4)
For all 72 RPC Upgrade RE3/1 and RE4/1 chambers we need to multiple the single end equpment in the table above by two in order to get all the LV equipment needed:
Variant | total number of LBB | rack positions | rack location
I | 12 | 12U per rack | X2J52, X2A52, X2V52, X2S52
X4J51, X4A51, X4V51, X4S51
X3J51, X3A51, X3V51, X3S51
II | 16 | 48U Near + 48U Far | X3 ¦¦ (X2&X4)